Fire Alarm Information

All plans must be submitted with a DPW permit and full payment

Burlington Code of Ordinances

Section. 13-59. Plans, permits and fees.

(a)   Submission.  Plans for fire prevention, protection, and alarm systems shall be submitted to the fire marshal for approval prior to any work being done. The fire marshal shall have up to thirty (30) days to review plans, make inspections, and issue a permit for the system, which may upon notification to the applicant be extended. Plans may be approved, rejected or be required to be amended. No plan shall be approved or permit issued unless all fees have been paid and satisfied.

(b)   Required information.  Fire prevention, protection, and alarm system plans shall include the floor plan with device locations, the wiring riser diagram, the complete equipment list and specifications, the type of occupancy, hazards, or unusual building features, and any other information required by the Vermont Fire and Building Safety Code as currently adopted by the State of Vermont.

(c)   Fees.  The fire marshal shall receive the following fees for plan review and inspections:

(4)   Fire alarm systems.  Fees for permit review, rough-in inspection, and the final inspection shall be thirty-one dollars ($31.00) per one thousand dollars ($1,000) of the final contracted costs for fire alarm systems, as they are defined in NFPA 72. Additional permitting, review and inspection fees may be applicable. Wireless smoke alarms installed in residential properties of less than eleven (11) units, with an associated control/monitoring/reset panel shall be considered a fire alarm system. The fee for the review of an amendment to a plan shall be fifty dollars ($50.00) per amendment submission plus three (3) percent of the increase in the net cost of the final contracted cost of the system.

(7)   Re-inspection fees.  A fee for the witnessing of a retest of any fire protection, prevention, or alarm system or the re-inspection of a system or any part thereof beyond the rough-in inspection and the final inspection shall be charged at a rate of fifty-five dollars ($55.00) per hour per inspector. This fee is payable by installing contractor prior to any retest.

(8)   Expedited process fees.  Plans for systems with contracted costs valued at less than twenty thousand dollars ($20,000.00) may be reviewed and approved on an expedited process within ten (10) working days for a special fee of one hundred fifty dollars ($150.00) per hour paid in addition to all the applicable permitting fees.

(9)   Phased-in installation inspection fees.  An additional fee of twelve (12) percent of the system fee shall be charged and paid when a permittee requests to phase in a system and inspections are required and conducted for each phase.

(Ord. of 2-22-93; Ord. of 10-16-00; Ord. of 6-26-06/7-26-06)